## Table5-1 Transition Tech Matrix
Table 5-1. Pump and Treat transition technology matrix, lines of evidence options, and links to case studies and technology-specific information
Type of Transitiona | Source/ Plume Area | Original P&T Remedial Action Objective | Performance Goal | Lines-of-Evidence Optionsb | Links to Appendix B Case Studies | Web Links to Additional Transition Case Studies | Links/References to Supporting Documents (See RefLink Lists)
P&T to MNA | Source | Source mass removal/control, source concentration reduction | Plume shrinking or stabilization | 1. Observation of COC plume stability after short-term suspension of P&T system to assess 2. Stable or decreasing COC concentrations in the source zone soil, groundwater, and/or NAPL 3. MNA evaluation to estimate rates of dissolved COC and NAPL depletion (e.g., NSZD relevant to petroleum NAPL sites) 4. Mass flux assessment shows that the assimilative capacity of aquifer is equal to or greater than COC aqeuous mass discharge (including geochemical/redox evaluation) 5. Statistical trend analysis on source wells and/or plume as a whole to show plume stability or shrinkage 6. Chemical analysis of the NAPL to show the extent of weathering (relevant to petroleum NAPL sites) 7. Microbiological evidence of COC biodegradation 8. Groundwater modeling to show plume stability under various climatic stresses (treatment effectiveness resiliency) 9. Environmental, social, economic impact analysis to show benefits of MNA over P&T 10. Resiliency assessment to show benefits of MNA over P&T | None provided | None | ITRC, FRTR, USEPA, NRC, SERDP/ESTCP, U.S. Navy, CRC CARE, ASTM
|  |  | Achieve groundwater criteria | 1. Observation of COC plume stability after short-term suspension of P&T system to assess 2. Stable or decreasing COC concentrations in the source zone soil, groundwater, and/or NAPL 3. MNA evaluation to estimate rates of dissolved COC and NAPL depletion (e.g., NSZD relevant to petroleum NAPL sites) 4. Mass flux assessment shows that the AC of the aquifer is equal to or greater than COC aqueous mass discharge (including geochemical/redox evaluation) 5. Statistical trend analysis on source wells and/or plume as a whole to show plume stability or shrinkage 6. Chemical analysis of the NAPL to show the extent of weathering (relevant to petroleum NAPL sites) 7. Microbiological evidence of COC biodegradation 8. Groundwater modeling to show plume stability under various climatic stresses (treatment effectiveness resiliency) 9. Environmental, social, and economic impact analysis to show benefits of MNA over P&T 10. Resiliency assessment to show benefits of MNA over P&T | Air Force Plant 4 Case Study, Groveland Case Study | None
| Plume | Plume/concentration reduction | Plume shrinking or stabilization | 1. Observation of COC plume stability using geostatistic analysis after cessation of the P&T system 2. Stable or decreasing COC concentrations in the plume groundwater 3. Mass balance to demonstrate AC equal to or greater than COC aqueous mass discharge within plume body (including geochemical/redox evaluation) 4. Microbiological evidence of COC biodegradation 5. Groundwater modeling to show plume stability under various climatic stresses 6. Environmental, social, and economic impact analysis to show benefits of MNA over P&T 7. Resiliency assessment to show benefits of MNA over P&T | None provided | None
|  | Plume/hydraulic containment | Achieve groundwater criteria | 1. Observation of COC plume stability using geostatistic analysis after cessation of the P&T system 2. Decreasing COC concentrations in the plume groundwater 3. Mass balance to demonstrate AC greater than COC aqueous mass discharge within plume body (including geochemical/redox evaluation) 4. Statistical trend analysis on plume wells and/or plume as a whole to show acceptable time to achieve target concentrations 5. Microbiological evidence of COC biodegradation 6. Groundwater modeling to show plume stability under various climatic stresses and predict plume longevity 7. Environmental, social, and economic impact analysis to show benefits of MNA over P&T 8. Resiliency assessment to show benefits of MNA over P&T | Air Force Plant 4 Case Study, Hellertown Case Study, Baytown Case Study | None
P&T to in situ bioremediation treatment (e.g., enhanced aerobic or anaerobic)c | Source | Source mass removal, source concentration reduction | Plume shrinking or stabilization | 1. Technology evaluation and possibly a bench/pilot test to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve source mass destruction 2. Cost-benefit analysis showing enhanced bioremediation can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical/microbiological analysis to support the enhancements used to stimulate biodegradation and overcome the site condition limitations (e.g., nutrients or bioaugmentation) 4. Modeling, possibly incorporating multiphase (if NAPL is present) and matrix/back diffusion processes, to establish the mass reduction needed (e.g., set remedial endpoint) to achieve a source mass discharge equal to or less than the AC of the formation that will result in plume stabilization or recession | McGregor Case Study, Baytown Case Study | Travis Air Force Base | ITRC, FRTR, USEPA, SERDP/ESTCP, U.S. Navy, ASTM, EAWAG
|  |  | Achieve groundwater criteria | 1. Technology evaluation and possibly a bench/pilot test to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve the needed concentration reduction 2. Cost-benefit analysis showing enhanced bioremediation can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical/microbiological analysis to support the enhancements used to stimulate biodegradation and overcome the site condition limitations (e.g., nutrients or bioaugmentation) 4. Modeling, possibly incorporating multiphase (if NAPL is present) and matrix/back diffusion processes, to predict the remediation time frame needed to achieve the target concentrations in groundwater | Jones Rd Case Study | None
| Plume | Plume/concentration reduction | Plume shrinking or stabilization | 1. Technology evaluation and possibly a bench/pilot test to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve the needed concentration reduction 2. Cost-benefit analysis showing enhanced bioremediation can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical/microbiological analysis to support the enhancements used to stimulate biodegradation and overcome the site condition limitations (e.g., nutrients or bioaugmentation) 4. Modeling, possibly incorporating matrix/back diffusion processes, to establish the degree of treatment needed (e.g., set remedial endpoint) to achieve a plume mass discharge equal to or less than the AC of the formation that will result in plume stabilization or recession | None provided | None
|  | Plume/hydraulic containment | Achieve groundwater criteria | 1. Technology evaluation and possibly a bench/pilot test to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve the needed containment (e.g., in situ reactive zone perpendicular to groundwater flow) 2. Cost-benefit analysis showing enhanced bioremediation can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical/microbiological analysis to support the enhancements used to stimulate biodegradation and overcome the site condition limitations (e.g., nutrients or bioaugmentation) 4. Modeling, possibly incorporating matrix/back diffusion processes, to predict the remediation time frame needed to achieve the target concentrations in groundwater | None provided | None
P&T to ISCO treatmentc | Source | Source mass removal, source concentration reduction | Plume shrinking or stabilization | 1. Technology evaluation and possibly a bench/pilot test (e.g., oxidant demand testing) to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve source mass destruction 2. Cost-benefit analysis showing ISCO can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical analysis to support the selection of the oxidant(s) and overcome the site condition limitations (e.g., presence of naturally occurring reductants) 4. Modeling, possibly incorporating multiphase (if NAPL is present) and matrix/back diffusion processes, to establish the mass reduction needed (e.g., set remedial endpoint) to achieve a source mass discharge equal to or less than the AC of the formation that will result in plume stabilization or recession | Benfield Industries Case Study | None | ITRC, FRTR, USEPA, SERDP/ESTCP, U.S. Navy
|  |  | Achieve groundwater criteria | 1. Technology evaluation and possibly a bench/pilot test (e.g., oxidant demand testing) to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve the needed concentration reduction 2. Cost-benefit analysis showing ISCO can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical analysis to support the selection of the oxidant(s) and overcome the site condition limitations (e.g., presence of naturally occurring reductants) 4. Modeling, possibly incorporating multiphase (if NAPL is present) and matrix/back diffusion processes, to predict the remediation time frame needed to achieve the target concentrations in groundwater | None provided | None
| Plume | Plume/concentration reduction | Plume shrinking or stabilization | 1. Technology evaluation and possibly a bench/pilot test (e.g., oxidant demand testing) to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve the needed concentration reduction 2. Cost-benefit analysis showing ISCO can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical analysis to support the selection of the oxidant(s) and overcome the site condition limitations (e.g., presence of naturally occurring reductants) 4. Modeling, possibly incorporating matrix/back diffusion processes, to establish the degree of treatment needed (e.g., set remedial endpoint) to achieve a plume mass discharge equal to or less than the AC of the formation that will result in plume stabilization or recession | None provided | None
|  | Plume/hydraulic containment | Achieve groundwater criteria | 1. Technology evaluation and possibly a bench/pilot test (e.g., oxidant demand testing) to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve the needed containment (e.g., in situ reactive zone perpendicular to groundwater flow) 2. Cost-benefit analysis showing ISCO can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical analysis to support the selection of the reductant(s) and overcome the site condition limitations (e.g., presence of naturally occurring reductants) 4. Modeling, possibly incorporating matrix/back diffusion processes, to predict the remediation time frame needed to achieve the target concentrations in groundwater | None provided | None
P&T to ISCR treatment (e.g., PRBs)c | Source | Source mass removal, source concentration reduction | Plume shrinking or stabilization | 1. Technology evaluation and possibly a bench/pilot test (e.g., magnetic susceptibility testing) to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve source mass destruction 2. Cost-benefit analysis showing ISCR can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical analysis to support the selection of the reductant(s) and overcome the site condition limitations (e.g., passivation) 4. Modeling, possibly incorporating multiphase (if NAPL is present) and matrix/back diffusion processes, to establish the mass reduction needed (e.g., set remedial endpoint) to achieve a source mass discharge equal to or less than the AC of the formation that will result in plume stabilization or recession | None provided | Valley Wood Preserving, Inc. | ITRC, FRTR, USEPA, SERDP/ESTCP, CRC CARE
|  |  | Achieve groundwater criteria | 1. Technology evaluation and possibly a bench/pilot test (e.g., magnetic susceptibility testing) to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve the needed concentration reduction 2. Cost-benefit analysis showing ISCR can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical analysis to support the selection of the reductant(s) and overcome the site condition limitations (e.g., passivation) 4. Modeling, possibly incorporating multiphase (if NAPL is present) and matrix/back diffusion processes, to predict the remediation time frame needed to achieve the target concentrations in groundwater | None provided
| Plume | Plume/concentration reduction | Plume shrinking or stabilization | 1. Technology evaluation and possibly a bench/pilot test (e.g., magnetic susceptibility testing) to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve the needed concentration reduction 2. Cost-benefit analysis showing ISCR can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical analysis to support the selection of the reductant(s) and overcome the site condition limitations (e.g., passivation) 4. Modeling, possibly incorporating matrix/back diffusion processes, to establish the degree of treatment needed (e.g., set remedial endpoint) to achieve a plume mass discharge equal to or less than the AC of the formation that will result in plume stabilization or recession | None provided | Former Intersil, Inc.
|  | Plume/hydraulic containment | Achieve groundwater criteria | 1. Technology evaluation and possibly a bench/pilot test (e.g., magnetic susceptibility testing) to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve the needed containment (e.g., PRB perpendicular to groundwater flow) 2. Cost-benefit analysis showing ISCR can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical analysis to support the selection of the reductant(s) and overcome the site condition limitations (e.g., passivation) 4. Barrier design to achieve the necessary residence time for treatment and predict the longevity of the reagents and reinjection time frame, if needed 5. Modeling, possibly incorporating matrix/back diffusion processes, to predict the remediation time frame needed to achieve the target concentrations in groundwater | None provided | Memphis Depot OU2 Dunn Field
P&T to in situ SRM treatment (e.g., activated carbon)c | Source | Source mass removal, source concentration reduction | Plume shrinking or stabilization | 1. Technology evaluation and possibly a bench/pilot test (e.g., sorption/treatment testing) to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve sorption and source mass destruction 2. Cost-benefit analysis showing SRM can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical analysis to support the selection of the SRM and amendments and overcome the site condition limitations (e.g., bioaugmentation) 4. Modeling, possibly incorporating multiphase (if NAPL is present) and matrix/back diffusion processes, to establish the mass reduction needed (e.g., set remedial endpoint) to achieve a source mass discharge equal to or less than the AC of the formation that will result in plume stabilization or recession | McGregor Case Study | None | ITRC, FRTR, USEPA, SERDP/ESTCP
|  |  | Achieve groundwater criteria | 1. Technology evaluation and possibly a bench/pilot test (e.g., sorption/treatment testing) to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve the needed concentration reduction 2. Cost-benefit analysis showing SRM can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical analysis to support the selection of the SRM and overcome the site condition limitations (e.g., bioaugmentation) 4. Modeling, possibly incorporating multiphase (if NAPL is present) and matrix/back diffusion processes, to predict the remediation time frame needed to achieve the target concentrations in groundwater | None provided | Intel Santa Clara 3
| Plume | Plume/concentration reduction | Plume shrinking or stabilization | 1. Technology evaluation and possibly a bench/pilot test (e.g., sorption/treatment testing) to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve the needed concentration reduction 2. Cost-benefit analysis showing SRM can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical analysis to support the selection of the SRM and overcome the site condition limitations (e.g., bioaugmentation) 4. Modeling, possibly incorporating matrix/back diffusion processes, to establish the degree of treatment needed (e.g., set remedial endpoint) to achieve a plume mass discharge equal to or less than the AC of the formation that will result in plume stabilization or recession | None provided | None
|  | Plume/hydraulic containment | Achieve groundwater criteria | 1. Technology evaluation and possibly a bench/pilot test (e.g., sorption/treatment testing) to demonstrate amenability of COCs, geochemistry, and hydrogeology to achieve the needed containment (e.g., PRB perpendicular to groundwater flow) 2. Cost-benefit analysis showing SRM can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Geochemical analysis to support the selection of the SRM and overcome the site condition limitations (e.g., bioaugmentation) 4. Barrier design to achieve the necessary residence time for treatment and predict the longevity of the reagents and reinjection time frame, if needed 5. Modeling, possibly incorporating matrix/back diffusion processes, to predict the remediation time frame needed to achieve the target concentrations in groundwater | None provided | Oregon Road Site
P&T to ISTTc | Source | Mass removal, concentration reduction | Plume shrinking | 1. Technology evaluation and possibly a bench/pilot test to demonstrate amenability of COCs and hydrogeology to achieve source mass destruction 2. Cost-benefit analysis showing thermal technology can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Modeling, possibly incorporating multiphase (if NAPL is present) and matrix/back diffusion processes, to establish the mass reduction needed (e.g., set remedial endpoint) to achieve a source mass discharge equal to or less than the AC of the formation that will result in plume stabilization or recession | Groveland Case Study | None | FRTR, USEPA, SERDP/ESTCP, ASTM, ASTSWMO, USACE
|  |  | Achieve groundwater criteria | 1. Technology evaluation and possibly a bench/pilot test to demonstrate amenability of COCs and hydrogeology to achieve the needed concentration reduction 2. Cost-benefit analysis showing thermal technology can expedite achievement of RAOs and reduce the life cycle cost over P&T 3. Modeling, possibly incorporating multiphase (if NAPL is present) and matrix/back diffusion processes, to predict the remediation time frame needed to achieve the target concentrations in groundwater | Ellis Property Case Study | None
P&T to engineering and/or institutional controls (ICs) and long-term monitoring | Source and plume | Source mass removal, source concentration reduction, plume/concentration reduction, plume/hydraulic containment | Protection of human health and the environment through exposure control(s) | 1. Technology evaluation and possibly bench/pilot test(s) to demonstrate that implementation of other remedial technologies (including MNA) for the entirety or a portion of the site is neither cost-effective nor practical and will not achieve RAOs in a reasonable time frame 2. Feasibility study showing engineering and/or administrative controls can be implemented and legally enforced to protect human health and the environment for the time frame needed to achieve the RAOs 3. Design of a long-term monitoring program to ensure exposures are mitigated and COC conditions remain acceptable and track deviations, if conditions change 4. Preparation of a contingency plan to be implemented in case long-term monitoring results indicate that protectiveness is compromised and threshold concentrations are exceeded | McGregor Case Study | None | ITRC, USEPA
Notes: AC = assimilative capacity, ASTM = adaptive site management, ASTSWMO = Association of State And Territorial Solid Waste Management Officials, COC = contaminants of concern, CRC CARE = Cooperative Research Centre for Contamination Assessment and Remediation of the Environment, EAWAG = Eidgenössische Anstalt für Wasserversorgung, Abwasserreinigung und Gewässerschutz (the Swiss Federal Institute of Aquatic Science and Technology), FRTR = Federal Remediation Technologies Roundtable, IC = institutional control, ISCO = in situ chemical oxidation, ISCR = in situ chemical reduction, ISTT = in situ thermal treatment, ITRC = Interstate Technology and Regulatory Council, MNA = monitored natural attenuation, NAPL = non-aqueous phase liquid, NRC = National Research Council, NSZD = natural source zone depletion, P&T = Pump and Treat, PRB = permeable reactive barriers, RAO = remedial action objective, SERDP/ESTCP = Strategic Environmental Research and Development Program / Environmental Security Technology Certification Program, SRM = sorptive reactive media, USACE = United States Army Corp of Engineers, USEPA = United States Environmental Protection Agency.
a A selected list of the more commonly used transition technologies is presented; it is not a comprehensive list. Other technologies such as in situ physical treatment (e.g., soil vapor extraction, air sparging, or multiphase extraction), in situ stabilization/solidification, or phytoremediation may better suit a project. Selection of lines of evidence is a project-specific judgment call.
b A selected list of the more commonly used lines of evidence is presented; it is not a comprehensive list. Other lines of evidence may better suit a project. Selection of lines of evidence is a project-specific judgment call and is best performed by an experienced practitioner. Demonstration of all lines of evidence is not necessary. Gray shading represents an innovative or less common application of the transition technology.
c The transition remedy may include use of a portion or the entirety of the P&T system to enhance treatment reagent distribution and provide hydraulic circulation and/or control.
Massachusetts Military Reservation (MMR)
Frontier Hard Chrome

## RefLink Lists
MNA References | Title | Web Link
ITRC (2010) - metals and rads | A Decision Framework for Applying Monitored Natural Attenuation Processes to Metals and Radionuclides in Groundwater | https://higherlogicdownload.s3-external-1.amazonaws.com/ITRC/0e667759-d96a-45d3-a2b5-f831b2d4b961_file.pdf?AWSAccessKeyId=AKIAVRDO7IEREB57R7MT&Expires=1667833274&Signature=4EMWEGZwdxNqNlmv5SWSm14iHGs%3D
ITRC (2010) - all | Use and Measurement of Mass Flux and Mass Discharge | https://maf-1.itrcweb.org/
ITRC (2018) - petro | LNAPL Site Management | https://lnapl-3.itrcweb.org/
FRTR (2022) | Monitored Natural Attenuation | https://frtr.gov/matrix/Monitored-Natural-Attenuation/
U.S. EPA (2022) - all | CLU-IN Monitored Natural Attenuation | https://clu-in.org/techfocus/default.focus/sec/Natural_Attenuation/cat/Overview/
U.S. EPA (2022) - all | CLU-IN Mass Flux | https://clu-in.org/characterization/technologies/default.focus/sec/Mass_Flux/cat/Overview/
U.S. EPA (2011) - all | An Approach for Evaluating the Progress of Natural Attenuation in Groundwater | https://nepis.epa.gov/Exe/ZyNET.exe/P100DPOE.TXT?ZyActionD=ZyDocument&Client=EPA&Index=2011+Thru+2015&Docs=&Query=&Time=&EndTime=&SearchMethod=1&TocRestrict=n&Toc=&TocEntry=&QField=&QFieldYear=&QFieldMonth=&QFieldDay=&IntQFieldOp=0&ExtQFieldOp=0&XmlQuery=&File=D%3A%5Czyfiles%5CIndex%20Data%5C11thru15%5CTxt%5C00000003%5CP100DPOE.txt&User=ANONYMOUS&Password=anonymous&SortMethod=h%7C-&MaximumDocuments=1&FuzzyDegree=0&ImageQuality=r75g8/r75g8/x150y150g16/i425&Display=hpfr&DefSeekPage=x&SearchBack=ZyActionL&Back=ZyActionS&BackDesc=Results%20page&MaximumPages=1&ZyEntry=1&SeekPage=x&ZyPURL#
NRC (2000) - all | Natural Attenuation for Groundwater Remediation | https://nap.nationalacademies.org/catalog/9792/natural-attenuation-for-groundwater-remediation
SERDP/ESTCP (2022) - all | Monitored Natural Attenuation | http://www.environmentalrestoration.wiki/index.php?title=Monitored_Natural_Attenuation_(MNA)
ESTCP (2014) - all | Frequently Asked Questions about Monitored Natural Attenuation in Groundwater | https://serdp-estcp.org/projects/details/3a1a3db3-6cbd-489f-9b95-865015eaa314
U.S. Navy (2021) - all | Remedy Selection and Optimization Considerations for Monitored Natural Attenuation | https://exwc.navfac.navy.mil/Portals/88/Documents/EXWC/Restoration/er_pdfs/r/Remedy%20Selection%20MNA%20Fact%20Sheet%20Nov%2021.pdf?ver=xe8BLvoR36AyAC_3eeEf5A%3D%3D
U.S. Navy (2015) | Biogeochemical Transformation Handbook | https://clu-in.org/download/techfocus/bio/biogeochem-ev-tr-1601-2015.pdf
U.S. Navy (2013) - all | Verification of Methods for Assessing the Sustainability of Monitored Natural Attenuation | https://clu-in.org/download/techfocus/na/MNA-ER-200824.pdf
CRC CARE (2018) - petro | Tech Report 46, The role of NSZD in the management of LNAPL contaminated sites | N/A, CRC CARE website has bad links
CRC CARE (2010) - petro | Tech Report 15, A technical guide for demonstrating monitored natural attenuation of petroleum hydrocarbons in groundwater | N/A, CRC CARE website has bad links
ASTM (2016) - petro | Standard Guide for Remediation of Ground Water by Natural Attenuation at Petroleum Release Sites | https://www.astm.org/e1943-98r15.html
ASTM (2023) - petro | Standard Guide for Estimating Natural Attenuation Rates for Non-Aqueous Phase Liquids in the Subsurface | Website pending publication of final standard
ISB References | Title | Web Link
ITRC (2008) - chlor dnapl | In Situ Bioremediation of Chlorinated Ethene: DNAPL Source Zones | https://itrcweb.org/HigherLogic/System/DownloadDocumentFile.ashx?DocumentFileKey=155c8bf6-f6c7-45a7-b8fe-d3721a785f08
ITRC (2007) - chlor dnapl | In Situ Bioremediation of Chlorinated Ethene DNAPL Source Zones: Case Studies | https://itrcweb.org/HigherLogic/System/DownloadDocumentFile.ashx?DocumentFileKey=8d9ce94d-6398-4784-9b24-22430cb886d7
ITRC (2008) - chlorinateds | Enhanced Attenuation: Chlorinated Organics | https://itrcweb.org/HigherLogic/System/DownloadDocumentFile.ashx?DocumentFileKey=27d4204f-3f99-4ef2-891f-be5fcdff267c
ITRC (2017) - fracture rock | Characterization and Remediation of Fractured Rock | https://fracturedrx-1.itrcweb.org/
ITRC (2002) - all | A Systematic Approach to In Situ Bioremediation in Groundwater Including Decision Trees on In Situ Bioremediation for Nitrates, Carbon Tetrachloride, and Perchlorate
FRTR (2022) | Enhanced In Situ Reductive Dechlorination for Groundwater | https://frtr.gov/matrix/Enhanced-In-Situ-Reductive-Dechlorinated-for-Groundwater/
FRTR (2022) | Enhanced Aerobic Bioremediation | https://frtr.gov/matrix/Enhanced-Aerobic-Bioremediation/
FRTR (2022) | In Situ Anaerobic Bioreactors | https://frtr.gov/matrix/Bioreactors/
FRTR (2022) | Cometabolic Bioremediation | https://frtr.gov/matrix/Cometabolic-Bioremediation/
U.S. EPA (2022) - all | CLU-IN Bioremediation | https://clu-in.org/techfocus/default.focus/sec/Bioremediation/cat/Overview/
SERDP/ESTCP (2022) - all | Bioremediation - Anaerobic | http://www.environmentalrestoration.wiki/index.php?title=Bioremediation_-_Anaerobic
U.S. Navy (2018) - all | Advances in the State of the Practice for Enhanced In Situ Bioremediation | https://clu-in.org/download/techfocus/bio/EISB-Advances-2018.pdf
ASTM (2022) - all | Standard Guide for Application of Molecular Biological Tools to Assess Biological Processes at Contaminated Sites | https://www.astm.org/e3354-22.html
ASTM (2022) - petro | Standard Guide for Consideration of Bioremediation as an Oil Spill Response Method on Land | https://www.astm.org/f1693-21.html
EAWAG (formerly Univ of MN) | Biocatalysis/Biodegradation Database | http://eawag-bbd.ethz.ch/
ISCO References | Title | Web Link
ITRC (2017) - fracture rock | Characterization and Remediation of Fractured Rock | https://fracturedrx-1.itrcweb.org/
ITRC (2020) | Optimizing Injection Strategies and In situ Remediation Performance | https://ois-isrp-1.itrcweb.org/
FRTR (2022) | In Situ Chemical Oxidation | https://frtr.gov/matrix/In-Situ-Chemical-Oxidation/
U.S. EPA (2022) | CLU-IN In Situ Oxidation | https://clu-in.org/techfocus/default.focus/sec/In_Situ_Oxidation/cat/Overview/
SERDP/ESTCP (2022) | Chemical Oxidation (In Situ - ISCO) | http://www.environmentalrestoration.wiki/index.php?title=Chemical_Oxidation_(In_Situ_-_ISCO)
SERDP/ESTCP (2010) | In Situ Chemical Oxidation for Groundwater Remediation - Technology Practices Manual | https://serdp-estcp.org/projects/details/7a530ba1-71a1-4f4c-a5b1-fcecf45651a3
U.S. Navy (2015) | Design Considerations for In Situ Chemical Oxidation | https://clu-in.org/download/techfocus/chemox/navfacexwc-ev-tm-1502-isco-design-201503f.pdf
ISCR References | Title | Web Link
ITRC (2020) | Optimizing Injection Strategies and In situ Remediation Performance | https://ois-isrp-1.itrcweb.org/
ITRC (2017) - fracture rock | Characterization and Remediation of Fractured Rock | https://fracturedrx-1.itrcweb.org/
ITRC (2011) - PRBs | Permeable Reactive Barrier: Technology Update | https://connect.itrcweb.org/HigherLogic/System/DownloadDocumentFile.ashx?DocumentFileKey=b2cbffca-cc5e-43b6-a95e-aa76d2438e43
FRTR (2022) | In Situ Chemical Reduction | https://frtr.gov/matrix/In-Situ-Chemical-Reduction/
FRTR (2022) | Permeable Reactive Barriers | https://frtr.gov/matrix/Permeable-Reactive-Barriers/
U.S. EPA (2022) - all | CLU-IN In Situ Chemical Reduction | https://clu-in.org/techfocus/default.focus/sec/In_Situ_Chemical_Reduction/cat/Overview/
SERDP/ESTCP (2022) - all | Chemical Reduction (In Situ - ISCR) | http://www.environmentalrestoration.wiki/index.php?title=Chemical_Reduction_(In_Situ_-_ISCR)
CRC CARE (2016) | Tech Report 25, A framework for selecting, designing and implementing a permeable reactive barrier system | N/A, CRC CARE website has bad links
SRM References | Title | Web Link
ITRC (2020) | Optimizing Injection Strategies and In situ Remediation Performance | https://ois-isrp-1.itrcweb.org/
FRTR (2022) | In Situ Activated Carbon | https://frtr.gov/matrix/In-Situ-Activated-Carbon/
U.S. EPA (2022) - all | CLU-IN In Situ Chemical Reduction | https://clu-in.org/techfocus/default.focus/sec/In_Situ_Chemical_Reduction/cat/Overview/
U.S. EPA (2018) | Remedial Technology Fact Sheet – Activated CarbonBased Technology for In Situ Remediation | https://frtr.gov/matrix/documents/In-Situ-Activated-Carbon/2018-Remedial-Technology-Fact-Sheet-AC-Based-Amendments.pdf
SERDP/ESTCP (2022) - all | Activated Carbon-Based Technology for In Situ Remediation | https://clu-in.org/techfocus/default.focus/sec/Activated_Carbon-Based_Technology_for_In_Situ_Remediation/cat/Overview/
In Situ Thermal References | Title | Web Link
FRTR (2022) | In Situ Thermal Treatment | https://frtr.gov/matrix/In-Situ-Thermal/
U.S. EPA (2022) - all | CLU-IN Thermal Treatment: In Situ | https://clu-in.org/techfocus/default.focus/sec/Thermal_Treatment%3A_In_Situ/cat/Overview/
U.S. EPA (2014) | Engineering Paper, In Situ Thermal Treatment Technologies: Lessons Learned | https://www.epa.gov/sites/default/files/2015-06/documents/istt_ll_issue_paper.pdf
SERDP/ESTCP (2022) - all | Thermal Remediation | http://www.environmentalrestoration.wiki/index.php?title=Thermal_Remediation
ASTM (2022) - all | Standard Guide for Use of Activity and Use Limitations, Including Institutional and Engineering Controls | https://www.astm.org/e2091-19.html
ASTSWMO (2015) | Uniform Environmental Covenants Act: Implementation at Federal Facilities | https://astswmo.org/files/policies/Federal_Facilities/2015-01-ASTSWMO%20UECA%20at%20FF%20Issues%20Paper_FINAL.pdf
U.S. Army Corps of Engineers (2014) | Design: In Situ Thermal Remediation | https://clu-in.org/download/techfocus/thermal/Thermal-In-Situ-EM-200-1-21-1.pdf
ICs References | Title | Web Link
ITRC (2016) | Long-term Contaminant Management Using Institutional Controls | https://institutionalcontrols.itrcweb.org/
ITRC (2020) - VI | Remediation and Institutional Controls as Vapor Intrusion Mitigation | https://vim-1.itrcweb.org/remediation-and-institutional-controls-as-vapor-intrusion-mitigation/
U.S. EPA (2022) - all | CLU-IN Long-term Contaminant Management Using Institutional Controls | https://clu-in.org/conf/itrc/LCMUIC/default.cfm#tabs-4
U.S. EPA (2012) | Institutional Controls: A Guide to Planning, Implementing, Maintaining, and Enforcing Institutional Controls at Contaminated Sites | https://www.epa.gov/sites/default/files/documents/final_pime_guidance_december_2012.pdf
U.S. EPA (2000) | Institutional Controls: A Site Manager’s Guide to Identifying, Evaluating and Selecting Institutional Controls at Superfund and RCRA Corrective Action Cleanups | https://www.epa.gov/sites/default/files/documents/icfactfinal.pdf